REQUEST FOR PROPOSALS

TOWN OF HOULTON

The Town of Houlton is requesting proposals from qualified Plumbing and HVAC Contractors for the installation of heat pumps at the John A. Millar Civic Center. To include but not limited to 4 ceiling cassettes VRF heat pump systems. All proposals are to be submitted to the Town of Houlton, 21 Water Street, Houlton, ME 04730 by 10:00, Monday May 18, 2026.  All proposal documents submitted to the Town of Houlton must be labeled with “JMCC Heat Pump Proposal” on the outside of the envelope. Bids can also be sent via email to Khylee Wampler, Town Clerk at  town.clerk@houlton-maine.com Specifications can be found on our website at Houlton-Maine.com.

The Town reserves the right to reject any and all bids

Specifications for Heat Pumps at John A. Millar Civic Center as follows (however, not limited to)

- High efficiency single phase VRF heat pump system.

- Single phase outdoor unit on stand.

- Two ceiling cassettes indoor units for warming room.

- One ceiling cassette indoor unit for upstairs office.

- One ceiling cassette indoor unit for Pro-shop in main lobby.

- Thermostats for each area/unit as needed/required