NOTICE TO CONTRACTORS

WINTER SAND

INVITATION TO BID

2026

The Town of Houlton request bids for approximately 3500-4000 yards of winter sand, screened, for the Houlton Public Works Department for the 2026-2027 winter season. Materials must meet current specs approved by Houlton Public Works Director.

Bids are to be submitted in a sealed envelope plainly marked “SAND BID” on the outside to: Town Manager, 21 Water St., Houlton Me, 04730, no later than 10:00 a.m. Thursday, May 28th 2026, at which time they will be opened.

If any additional information is required or to request a bid packet, please contact Robert Monfils, Director Houlton Public Works Department, at 532-1325, between the hours of 6:00 am and 4:30 pm Monday thru Thursday.

The Town reserves the right to accept or reject any and all bids.

The following conditions will apply:

- All bids shall reflect a per yard price delivered to the Houlton Public Works Garage and a per yard price picked up, by Houlton Public Works.

- If Town of Houlton selects delivered material, the delivery shall occur during regular work hours of the Houlton Public Works, 6:00 a.m. to 4:30 pm Monday – Thursday. The contractor will be notified by the Director of Public Works 7 days prior to the required date of delivery so that the Town may provide an inspector on the site during the delivery period and coordinate the delivery of salt for mixing.

- Screened material must meet the following gradation:

Sieve Size                                    Percent Passing

1/2” 				100

1/4”				95-100

#10				55-95

#40				10-60

#200				0-8

- Any material delivered not meeting the gradation listed above shall be removed and replaced at the contractor’s expense.

5.	      Aggregate shall be clean sand of hard, durable, sharp-grained particles free

from vegetable or organic matter, lumps, or balls of clay or other delirious                         substances. Will be free of any crushed material, ledge rock and shale rock.

6.	The quantities listed are approximate due to circumstances which cannot be                   predicted in advance. Under the bid the Town of Houlton reserves the right to increase or decrease the quantity of material needed.

- No bidder may withdraw or change their bid within 60 days after the opening         of bids

- Unless otherwise mutually agreed upon all work shall be completed by September 26th 2026

- Any variance from the specifications supplied shall be specifically stated by the bidder on their proposal.

- Each delivery shall be accompanied by a delivery slip and those slips shall be signed by a public works employee and date of delivery if applicable.

Please fill in the following:

Name, Address & Telephone Number of Contractor:       _______________________

________________________

________________________

________________________

Pit Location: _________________________________________

Price Delivered Per Cubic Yard: __________________________________

Price Picked Up By Town Per Cubic Yard: _______________________________

All bids must be in a sealed envelope clearly marked “SAND BID”. Bids may be hand delivered or mailed to Town Manager, 21 Water St., Houlton ME. 04730, on or before Thursday, May 28th 2026 at 10:00 a.m., at which time the bids will be opened. The Town of Houlton reserves the right to reject or accept any or all bids.

If any additional information is required, please contact Robert Monfils, Director Houlton Public Works Department, at 532-1325, between the hours of 6:00 a.m. and 4:30 p.m.  Monday – Thursday.